## Sheet1
Liverpool In Work
Contractor: Carillion Construction Services
Procurement Progress Report for Period : Dec 2014
Mechanical, Electrical and Public Health
Package | Description | Anticipated Tender Date | Awarded | Address | Telephone Number
Fire Alarm | Design, supply, installation, test and commission of Fire Alarm system to main hospital building and support building - circa 96,092m2 | Awarded | 2014-11-01 | HESIS Ltd, Suite 107, South Harrington Building, Sefton Street, Liverpool, L3 4BQ | (0)8452002542
Nurse Call | Design, co-ordinate, supply, install, test and commission of Nurse Call and Bed Head trunking systems to main Hospital building (8 floors) | Awarded | 2014-12-01 | The Wandsworth Group Limited, Albert Drive, Sheerwater, Woking, Surrey GU21 5SE | (0)1483713400
Thermal Insulation | Supply and installation of Thermal Insulation to ductwork, domestic and LTHW water pipes (module connections and run outs only) | Returned | Awaiting Decision | - | -
Air Handling Units | Supply only of circa 106nr Air Handling Units serving main hospital building and clinical support building | Returned | Awaiting Decision | - | -
Air Cooled Chillers | Supply only 4nr 1.5MW, 4nr 1MW and 2nr 0.8MW air cooled chillers serving main hospital building and clinical support building | Returned | Awaiting Decision | - | -
Steel Wire Armoured Cables | Supply only of HV and LV sub-main cables, to serve main hospital and clinical support building | 2014-12-22 | - | - | -
Radiant Panel | Supply only of Circa 2000nr Radiant Panels | 2014-12-16 | - | - | -
Busbar | Supply and installation of 800A-1250A rising busbar throughout main hospital building and clinical support building | 2015-01-12 | - | - | -
Dado Trunking | Supply only of Circa 1500m (supply only) 3 compartment dado trunking throughout main hospital | 2015-01-19 | - | - | -
Under Floor Heating | Supply and Installation of circa 1000m2, 7 zone under floor heating to ground floor in the main hospital building | Retuned | Awaiting Decision | - | -
Electrical Accessories | Supply only circa 15,000nr, various sockets, spur units and switches. | 2015-02-23 | - | - | -